## Site_info
location_id | ward_zone | gps_coordinates | sewer_depth_m | sewer_type | sewer_diameter
MH-13 | Hotgi Road Ward | 17.6599,75.9064 | 2.5 | Underground Sewer | 300mm

## operationdata
date_of_operation | time_of_opeartion | number_of_workers | type_of_work | expected_work_duration_minutes
3/10/2026 | 9:00 | 3 | Manhole Cleaning | 90

## Environmentaldata
temperature_c | humidity_percent | current_rainfall_mm | rainfall_last_24h_mm | rainfall_last_72h_mm
32 | 45 | 0 | 0 | 2

## Historicaldata
past_incidents | previous_gas_complaints | flooding_history | last_maintenace_date | maintenace_gap_days
2 | 1 | Yes | 2026-01-15 | 60

## Pre_Entry_data
visible_gas_odor | water_level_condition | ventilation_condition | safety_equipment_available
Yes | High | Poor | Yes

## Operational_risk_factor
traffic_level | site_category | expected_work_duration_minutes | sever_diameter_m
High | Main Road | 120 | 0.6

## Sensor_data
gas_level_ppm | oxygen_level_percent | sensor_temperature_c | water_level_status
35 | 20.5 | 30 | Normal